## BOQ
M/s
Address
GST
BOQ for the upgradation of Birdwood Classrooms in the campus of The Lawrence School, Sanawar
S.No. | DESCRIPTION OF ITEMS | UNIT | QTY. | Rate | Value
1 | WALL FINISHES
1.1 | Painting with Asian acrylic or equivalent synthetic enamel paint of approved shade, Colour, brand and manufacture to give an even shade on wood/Mild Steel work door frames, shutters, railings etc. | Sqm | 450
1.2 | Providing and applying plaster of Paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | Sqm | 1000
1.3 | Wall painting with premium acrylic emulsion paint (AS PER APPROVED SAMPLE) of interior grade, having VOC content less than 50 grams/litre, including applying additional coats wherever required to achieve even shade and colour (Two Coats). | Sqm | 1000
2 | Wall panelling and flooring
2.1 | Providing and Fixing 5" wide X 4' height X 10-12 mm thick deodar wood wall panelling with 4mm vertical groove in between, fixed on 10 to 12 mm thick block board. complete in all respects with all necessary fittings and polishing of wood as per the requirement of School. Rate should include cost of fixing on walls, cutting of holes for lights etc. for concealing conduits/wiring, nothing extra will be paid for this. | Sqm | 500
2.2 | Providing and laying 25mm wooden planking, tongued and grooved in flooring, including fixing with iron screws complete with: deodar/saal hardwood including wooden floor polish. | Sqm | 600
3 | PLAIN & REINFORCED CEMENT CONCRETE :
3.1 | Providing and laying in position cement concrete for foundation base, screeding, cill, filling and other similar locations including necessary form work, machine mixing, consolidation, finishing (smooth) to receive membrane water proofing, curing etc. in all works at all depth / height & levels. Complete as per specifications, drawings and as directed by the Manager (Projects) of the Principal :The mix proportion shall be done by volume.
3.1.1 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 20 mm nominal size) | Cum. | 50
4 | Providing and laying 12-15mm thick plaster in cement mortar 1:4:2 (1cement : 4 fine sand : 2 coarse sand) to all types of RCC work (small or Big) brick / stone work surfaces including parapet, wall tops, jambs and cills etc. at all levels, in line, level and plumb as shown in detailed drawings, including smooth cement finish, as directed including providing necessary bands, grooves or edge beads using aluminium angle / channels at all the junctions of walls and ceiling, walls and frames for doors or windows, around skirting/dado or at other places as directed, including raking the joints or roughening the RCC surfaces, necessary curing, scaffolding etc., complete as directed and specified. | Sqm. | 500
4.1 | Frame work for woooden floor - 40mmX40mm | Rm | 2000
5 | Dismantling of old Wall & Floor tile | Sqm | 500
6 | Disposal of Malba | Cum | 150
7 | Floor Polishing | Sqm | 200
8 | Electrical Works
8.1 | Wiring for light plug with 2X1.5 Sqmm PVC HRFRLS copper conductor (flexible) in PVC conduit on underground with 1.5 Sqmm HEFRLS single core PVC conductor for earth . (HAVELLs or FINOLEX make) on board. I/C Switch and socket. | NOS | 225
Total (Including GST)
Following are the terms and conditions:-
1 | The actual quantity will be measured as per site and will be paid accordingly.
2 | The quantities of work can be increased or decreased without assigning any reason.
3 | Security @5% shall be deducted from the bill & and will be released after Twelve Months of completion.
4 | Penalty @2% of the total bill shall be imposed for each week of delay of work.
5 | 5% of the total bill shall be imposed as penalty in case the work is not finished and contractor leaves the work.
6 | Also submit a Bank Draft of Rs. 50,000/- as EMD amount alongwith Tender.
7 | The rates quoted by the contractor shall be inclusive of all taxes and charges,nothing extra will be paid for any kind of other taxes.
8 | The School can terminate this agreement with giving one month notice.
9 | The Contractor will bear and be responsible for all statutory liabilities such as PF, ESI etc as applicable.
10 | The Contractor will take all safety measures and you will be responsible for any accident /incident and other liabilities related to accident /incident.
11 | In case of any difference and dispute the Arbitrator decision will be final. The Arbitrator will be nominated by Headmaster, In case the matter is not amicably settled, the court at Solan alone shall have be Jurisdiction to decide the same.
12 | The Contractor will be in Possesssion of all the plants and equipments of Road Repairs like.
13 | No material advance will be given to the contractor.
14 | The contractor will be responsible for all safety equipment, including safety belts for work at all heights. Precautions should be taken during the work.