## Sheet1
M/s
Address
GST
DETAILS SHEET FOR RUCKUS ACCESS POINTS AND SWITCHES.
Sr.No. | Desciprition | Brand | UOM | Qty | Rate | Value
1 | Supply,Installation, Testing,Commisioning of Access Points-AP R550 | Ruckus | Nos | 19
2 | Supply,Installation, Testing,Commisioning of Access Points-AP R750 | Ruckus | Nos | 2
3 | Supply,Installation, Testing,Commisioning of Access Points-AP H350 | Ruckus | Nos | 6
4 | Supply,Installation, Testing,Commisioning of Access Points-AP R350 | Ruckus | Nos | 3
5 | Supply,Installation, Testing,Commisioning of Access Points-AP T350 Outdoor | Ruckus | Nos | 1
6 | Supply,Installation, Testing,Commisioning of Ruckus Switch 48 port with dual power supply | Ruckus | Nos | 2
7 | Supply,Installation, Testing,Commisioning of Ruckus Switch 24 port with dual power supply | Ruckus | Nos | 1
8 | Supply, Laying, Testing,Commisioning of Cat6a LAN Cable (Supports upto 10G) | Belden | Roll | 15
9 | Cat6a loaded patch panel 24 port (all Accessories) |  | Nos | 3
10 | Cat6a lan patch cord 1/2 mtr. |  | Nos | 70
11 | Rack 15U with all Accessories and PDU etc. |  | Nos | 2
12 | IO Box |  | BOX | 31
13 | RJ45 Connectors |  | Box | 1
14 | PVC duct cable tray 1 inch |  | Nos | 30
15 | PVC duct cable tray 2 inch |  | Nos | 30
16 | Conduit 1inch |  | Nos | On actual
17 | Conduit 2 inch |  | Nos | On actual
18 | Compelete in all respect such as Cable laying, Implimentation and Configuration
Sub Total
GST
Grand Total
Payment Terms
Freight
Following are the terms and conditions:-
1 | The actual quantity will be measured as per site and will be paid accordingly.
2 | The quantities of work can be increased or decreased without assigning any reason.
3 | Security @5% shall be deducted from the bill & and will be released after Twelve Months of completion.
4 | Penalty @2% of the total bill shall be imposed for each week of delay of work.
5 | 5% of the total bill shall be imposed as penalty in case the work is not finished and contractor leaves the work.
6 | Also submit a Bank Draft of Rs. 50,000/- as EMD amount alongwith Tender.
7 | The rates quoted by the contractor shall be inclusive of all taxes and charges,nothing extra will be paid for any kind of other taxes.
8 | The School can terminate this agreement with giving one month notice.
9 | The Contractor will bear and be responsible for all statutory liabilities such as PF, ESI etc as applicable.
10 | The Contractor will take all safety measures and you will be responsible for any accident /incident and other liabilities related to accident /incident,including safety belts for work at all heights. Precautions should be taken during the work.
11 | In case of any difference and dispute the Arbitrator decision will be final. The Arbitrator will be nominated by Headmaster, In case the matter is not amicably settled, the court at Solan alone shall have be Jurisdiction to decide the same.
12 | The Contractor will be in Possesssion of all the plants and equipments for the above specified work.
13 | No material advance will be given to the contractor.
14 | Vendor may please visit the site before submitting of Quotation to understand the scope of work.

## Sheet2
S.No. | Items | Quantity
1 | Ruckus Switch 48 port with dual power supply | 2
2 | Ruckus Switch 24 port with dual power supply | 1
3 | Cat6a LAN Cable Belden (Supports upto 10G) | 15 boxes (Approx boxes) rest will be as per actual
4 | Cat6a loaded patch panel 24 port (all Accessories) | 3
5 | Cat6a lan patch cord 1/2 mtr. | 70
6 | Rack 15U with all Accessories and PDU etc. | 2
7 | IO box | 31
8 | Ruckus AP R550 | 19
9 | Ruckus AP R750 | 2
10 | Ruckus AP H350 | 6
11 | Ruckus AP R350 | 3
12 | Ruckus AP T350 Outdoor | 1
13 | Total Implementation cost including cable laying and configuration etc.
14 | RJ 45 connectors | one box
15 | Conduit | As per Actual