## Sheet1
M/s
Address
GST
BOQ for access to the basement of Peacestead through Short Back road for Temporary Stores at the Lawrence School, Sanawar
Tunnelling Works
S.No. | DESCRIPTION OF ITEMS | UNIT | Qty | Rate | Amount
1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth within all lead and lifts, disposed earth to be levelled and neatly dressed. etc. complete as per design and drawing.
1.1 | Ordinary rock | Cum | 250 |  | 0
1.2 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including upto all depths, including getting out the excavated soil and disposal ofdressing of sides and ramming of bottoms, lift surplus excavated soils as directed, within all lead and lifts etc. complete as per design and drawing.
1.2.1 | Ordinary Rock | Cum | 100 |  | 0
1.3 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 50 |  | 0
2 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level:
2.1 | 1:4:8 (1 Cement: 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | Cum | 40 |  | 0
3 | Approved Marine plywood or 3mm thick steel plate shuttering and centring for structural concrete work in locations called for including strutting, propping, bracing, bolting, wedging, casing, striking, removal etc. complete for any size, section, thickness. Props shall consist of well designed steel pipes adequately braced (wooden ballies as props shall not be permitted). The item to include centering and shuttering at all heights and levels.
3.1 | Walls (any thickness) including attached pilasters, buttresses, plinth and string courses etc. | Sqm | 200 |  | 0
3.2 | Suspended floors, roofs, landings, balconies and access platform. | Sqm | 75 |  | 0
3.3 | Partition wall at the common line of Shooting Range and the storerooms with 19 mm thk ply boards as per the directions of the School, complete in all aspects. | Sqm | 3600 |  | 0
3.4 | Providiing, Laying and fixing in position steel reinforcement in all reinforced concrete work, including straightening, cutting, removal of loose rust by wire brush and coating with cement slurry, bending, hoisting, laying in position to the shape and profile required at all levels and heights as per drawing and design and/ or as directed, binding with 18 gauge MS annealed wire etc. complete. (Quoted rate also to include providing & fixing the binding wire, cement mortar spacer blocks etc.) | KG
3.4.1 | Thermo-mechanically treated bars |  | 7000 |  | 0
4 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.
4.1 | All works up to floor V level including foundations and all under ground works. | Cum | 55 |  | 0
5 | Random rubble masonry with hard stone in foundation, plinth & superstructure above plinth level including weep holes, RCC bands with reinforcement, levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with :
5.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 35 |  | 0
6 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fasteners shall be paid for separately).
6.1 | Deodar Wood | Cum | 1 |  | 0
35 mm thick shutters
7 | Providing and applying three or more coats OBD and synthetic enamel paint of approved brand, manufacturer and shade to give a smooth finish on RCC walls / wood/new plastered / board surfaces over a coat of approved primer including the cost of preparing the surfaces along with sand papering wherever required etc. complete as per the direction of Engineer in Charge. | Sqm | 120 |  | 0
| Total |  |  |  | 0
Following are the terms and conditions:-
1 | The actual quantity will be measured as per site and will be paid accordingly.
2 | The quantities of work can be increased or decreased without assigning any reason.
3 | Security @5% shall be deducted from the bill & and will be released after Twelve Months.
4 | Penalty @2% of the total bill shall be imposed for each week of delay of work.
5 | 5% of the total bill shall be imposed as penalty in case the work is not finished and contractor leaves the work.
6 | Also submit a Bank Draft of Rs. 50,000/- as EMD amount alongwith Tender.
7 | The rates quoted by the contractor shall be inclusive of all taxes and charges,nothing extra will be paid for any kind of other taxes.
8 | The School can terminate this agreement with giving one month notice.
9 | The Contractor will bear and be responsible for all statutory liabilities such as PF, ESI etc as applicable.
10 | The Contractor will take all safety measures and you will be responsible for any accident /incident and other liabilities related to accident /incident.
11 | In case of any difference and dispute the Arbitrator decision will be final. The Arbitrator will be nominated by Headmaster, In case the matter is not amicably settled, the court at Solan alone shall have be Jurisdiction to decide the same.
12 | The Contractor will be in Possesssion of all the plants and equipments of Road Repairs like.
13 | No material advance will be given to the contractor.
14 | The contractor will be responsible for all safety equipment, including safety belts for work at all heights. Precautions should be taken during the work.