## Table 1
M/s
Address
GST No.
BOQ FOR THE CONVERSION OF OUTDOOR BASKETBALL COURT INTO INDOOR BASKETBALL COURT NEAR CDH IN THE CAMPUS OF THE LAWRENCE SCHOOL ,SANAWAR
S.No. | Details of Work | Qty | Unit | Rate | Amount
CIVIL WORK
1 | Excavation and Area Grading for new structure | 84.96 | Cum
2 | Earthfilling with available excavated material including watering and compaction | 67.97 | Cum
3 | PCC 1:4:8 for base in 40mm aggregate watered and compacted | 8.5 | Cum
4 | Reinforcement TMT Fe550D for Walls, base and slab of UG Water Tank (Make: Tata, Sail, Jindal, RINL) | 4450 | Kg
5 | RCC 1:1.5:3 for footings, columns and beams excluding centering and shuttering | 83.6 | Cum
6 | Centering and shuttering with play based formwork cast-in-situ for footings, columns and beams | 138.8 | Sqm
7 | Brickwork 230mm in Cement Mortar 1:6 for peripheral walls upto height of 8ft | 86.76 | Cum
8 | Rendering 12mm finished smooth on the interior walls in Cement Mortar 1:4 | 289.2 | Sqm
9 | Rendering 15mm finished rough on the exterior walls in Cement Mortar 1:4 | 289.2 | Sqm
10 | Tiling for drain inline made near stage | 106.5 | Sqm
11 | Concrete Topping in 1:2:4 CC 50mm thick | 27.72 | Sqm
STRUCTURAL WORK
11 | Structure made of treated MS steel as per design. Roofing structure will also be done in grid structure as per design. Height 30ft (Make: Jindal, Apollo, A-one, Surya) | 878.63 | Sqm
12 | PPGI Galvalume 0.5mm roofing with ridges and joint sealant complete in all respects (Make: Jindal, AMNS, Tata, Surya) | 990.32 | Sqm
13 | PPGI Galvalume 0.5mm wall cladding with corner profile & joint sealant complete in all respects | 596.48 | Sqm
14 | Rain Gutters in PVC Pipe Slit and Installed on either side of the slope in 4" main line and 3" down pipes including supporting MS frame and clamped arrangement | 72 | Mtr
15 | MS Ventilator around the periphery 300mm Ht for air ventilation | 36.15 | Sqm
ELECTRICAL WORK
16 | Electrical wiring for the court including Main Panel setup, multiple points of 12 module switch-socket arrangement and wiring for flood lights and Halogen Lights (This costing is approximation and would vary as per design and client requirement) (Main Supply and main line connections are not included) | 878.63 | Sqm
17 | LED 100W Diffuser light with Glare free glass top, Weather proof with IP66, Short circuit, open circuit protection, Surge Protection upto 6 Kv, 6500k, Operating voltage: 100 V - 300 V ac, 50/60 Hz | 12 | Nos
18 | LED 200W Antiglare Lens Flood Light for Indoor Court, Pure White, 220V AC, unbreakable acrylic cast model | 20 | Nos
FLOORING WORK(Option-1)
19 | BASE LAYER (ASPHALT) A typical asphalt base consists of a 6" thick pavement which consists of Excavation to a depth between 3-4 inches to remove all weeds and grass from its roots. Compaction of the sub-base will be by heavy roller. Carry out anti termite and weedicide on the total area. 2 Layers of 3" water bound macadam with stone of size 63-20mm gauge. Lay a 30mm thick hot mix BM course Lay a 15mm thick hot mix A.C course. Seal coat with stone dust. | 878.63 | Sqm
20 | EPDM track 15mm thick 9mm SBR 6mm EPDM granules of any colour SBR with Meosal Binder 12% EPDM with Meosal Binder 16% | 878.63 | Sqm
FLOORING WORK (Option-2)
19 | BASE LAYER (CONCRETE) A typical RCC base consists of a 6" thick pavement which consists of Excavation to a depth between 3-4 inches to remove all weeds and grass from its roots. Compaction of the sub-base will be by vibratory manually operated roller. Carry out anti termite and weedicide on the total area. PCC in 40mm aggregate CC 1:4:8 TMT as per requirement M25 concrete mix laid 100mm thick | 878.63 | Sqm
20 | 8-layers system SYNTHETIC-Flex COURT SYSTEM-8 LAYER System over the Asphalt surface 1 Layer of Re-surfacer. 5 Layer of Cushion. 1 Layer of concentrated Elastoturf acrylic resins to be mixed with quartz sand to create ready to apply precoat color. 1 Layer of 100% Acrylic textured Topcoat 1 coat of white stripping paint for game line marking, Approved by Basketball Federation of India: BFI | 878.63 | Sqm
21 | ACCESSORIES :- Basketball Posts- INTERNATIONAL STANDARD BOARD SIZE 180: x 105: CM 20MM BOARD THICKNESS. TRANSPARENT ACRYLIC BOARD IMPORTED. STEEL FRAMING ARROUND THE BOARD. MADE OF 8 INCH ROUND PIPE POLE EXTENTION 2.20 MTR. HEAVY DUNKING RIM WITH 3 SPRING. NYLONE WHITE NET. BEST QUALITY PU SPRAY PAINT. Dunking Ring- Two springs slam dunking ring solid steel 18-20mm and net | 1 | Set
22 | Paint Job | 1 | Job
Total
GST 18%
Total