## PDL & PDU indoor toilets
BILL OF QUANTITIES FOR THE RENOVATION WORK OF PDL, PDU INDOOR TOILETS, FLAP DOORS PDL, PDS & PDU BATHING AREAS, INSTALLATION OF SHOWERS PDS AND SHIFTING OF HOT WATER TANK TO BACK SIDE OUTER AREA
CIVIL & PLUMBING WORKS:- (APPENDIX - 'A')
S.NO | DESCRIPTION OF WORK | UOM | QUANTITY | NOS | RATE | AMOUNT
1 | Dismantling tile work in floors and walls laid in cement mortar,
A) | Floor Tiles | SQM | 80 | 2
B) | Wall Tiles | SQM | 50 | 2
C) | PCC below floor tile bedding to introduce new sewarge and waste water distribution system. | CUM | 1 | 2
D) | Existing sewarage line/G.I pipes/C.I pipes | RMT | 100 | 2
E) | To remove all kinds of Sanitary fittings like Wash Basin,European Water Closet,Cisterns,Indian Orrisa pan etc. | LS |  | 2
2 | Providing and fixing 4" dia PVC pipe Finolex make (Type B),Including and fixing all PVC fittings And jointing the joints with required adhesive | RMT | 125 | 2
3 | Back-filling with available excavated earth / brick bat filling within the site in trenches, sides of foundations, under floor, etc in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering to achieve atleast 95% maximum dry density. | CUM | 1 | 2
4 | Providing & Fixing double skin full height solid partition (upto the 8 feet) on 50 x 50 x 5mm SS hollow pipe framing (as specified) spaced not more than 1000 mm. c/c vertically and 1200 mm horizontally and vertical members to be fixed on the SS plate and cpaing on the floor, double skin partition fixed to SS frame made of 6 mm. thk. approved BWR ply as per IS:303, finished both side with approved 1 mm laminate with 1.5 mm groove design complete with polishing, 35 mm thick solid core flush door shutter with laminate finish matching to the other available side of the partition, to be incorporated with necessary hinges, sliding bolt from inside, handles, hydarulic door closer and all complete as per design, direction and approval of the Engineer. | SQM | 60 | 2
5 | 15mm Cement plaster in single coat on the rough side of brick/ concrete/stone walls for interior plastering upto floor two level including arrises,internal rounded angles,chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth Cement Mortar 1:4 (1Cement:4 Sand). up-to all lead and lifts | SQM | 200 | 2
8 | P.C.C Work 1:2:4 (40 mm thk.) for the sub base floor for tiles | CUM | 2 | 2
9 | Distempering with one coat of primer,applying putty and two coats of OBD paint Nerolac/Brger make | SQM | 100 | 2
10 | Painting with one coat Primer and two coat of Enamel paint | SQM | 50 | 2
11 | Providing and fixing 1/2" dia GI pipe including GI fittings Jindal Make | RMT | 100 | 2
12 | Providing and fixing 3/4" dia GI pipe including GI fittings Jindal Make | RMT | 50 | 2
13 | Providing and fixing 1-1/4" dia GI pipe including GI fittings Jindal Make | RMT | 20 | 2
14 | Providing and fixing 10mm thick anti skid, stain and impect resistent heavy duty vetrified tiles of make Kajaria, Somany or equivalant 600x600mmx10mm manufactured of approved shade and colour in flooring, laid over 12mm thick cement mortar 1:3 (1 cement : 3 sand) jointed with cement slurry mixed with pigment to match the shade of tiles as required Complete up-to all lead and lifts. The basic rate of the tile Rs 60 per SFT. | SQM | 70 | 2
15 | Providing and fixing 8-10 mm thick glazed ceramic glazed tiles, stain and impect resistent heavy duty tiles of make Kajaria, Somany or equivalant in specified sizes of 300x600mm manufactured of approved shade and colour in walls, laid over 12mm thick cement plaster mortar 1:3 (1 cement : 3 sand) jointed with cement slurry mixed with pigment to match the shade of tiles as required Complete up-to all lead and lifts. The basic rate of the tile Rs 60 per SFT. | SQM | 150 | 2
17 | Providding and fxing Black granite 20-22 mm thick granite as per approved sample, for wash basin counters and urinal partitions 20mm thk. Including with the provision for basin holes, RCC for the counter, edge chamfeering and edge polishing, complete in all aspects. | SQM | 5 | 2
18 | Providing and fixing bothways openable 4 feet height flap door shutters made up of deodar wood with the provisions of louvers in 2 feet height and solid wood shutter on the remaining 2 feet height, decorative waterproof veneer ply 1.5 mm thick on both side as per approved sample, comple in all aspects with all necessary fittings, fixtures and hardwares. | NOS | 25 | 1
19 | Providing and fixing European seat S-Trap including P/F ceat cover, White Essco/Jaguar make (CNS-WHT-WH10) | NOS | 6 | 2
20 | Providing and fixing Low level Three star cistern white including kit,bend and all necessaryu fittings Essco/Jaguar Make (WHC-WHT-184) | NOS | 6 | 2
21 | Providing and fixing Health Faucet Essco/Jaguar Make (ALD-BLK-585) | NOS | 6 | 2
22 | Providing and Fixing Round/Oval shaped white wash basin cera make (comet 1016A) | NOS | 2 | 2
23 | Providing and fixing Orrisa pan 23" white Cera make | NOS | 1 | 2
24 | Providing and fixing 1-1/4" CP waste Jindal Make | NOS | 2 | 2
25 | Providing and fixing 1-1/4" PVC waste Jindal Make | NOS | 2 | 2
26 | Providing and fixing Grating with Frame | NOS | 10 | 2
27 | Providing and fixing CP wash basin mixer (SOT 516KN) Essco/Jaguar | NOS | 2 | 2
28 | Providing and fixing Angle valves MOT 526 Essco/Jaguar | NOS | 22 | 2
29 | Providing and fixing CP Paper holder AEC-1151 Essco/Jaguar | NOS | 6 | 2
30 | Providing and fixing CP Short body Bib cock MOT-511 Essco/Jaguar | NOS | 1 | 2
31 | Cealling Non-asbestos sheets 1200X1200mm panel with wooden frame complete (with extended portion) in all aspects including making of working platform And all necessary fasting tools and material make everest/charminaar. | SQM | 60 | 2
32 | Providing and fixing PVC Connection (Viking Make) | NOS | 24 | 2
33 | Provinding and fixing 1.25" CP Bottle trap (ALE - 773 AL) Essco / Jaguar | NOS | 2 | 2
TOTAL AMOUNT OF CIVIL & PLUMBING WORK TO BE DONE (In Lacs)
The Terms and Conditions would be, as mentioned below :-
Following are the terms and conditions:-
1 | The actual quantity will be measured as per site.
2 | Commencement date of the work would be 20th Dec 2022.
3 | Work to be completed by 10 Feb,2023 in all respects. Neat and clean site to be handed over.
4 | The quantities of work can be increased or decreased without assigning any reason.
5 | Security @5% shall be deducted from the bill & and will be released after Six Months.
6 | Penalty @2% of the total bill shall be imposed for each week of delay of work.
7 | Penalty @5% of the total bill shall be imposed on walking off the work.
8 | The rates quoted by the contractor shall be inclusive of all taxes and charges,nothing extra will be paid for any kind of other taxes.
9 | Defect liability for the period of Six Months will be applicable
10 | The School can terminate this agreement without giving any notice
11 | You will bear and be responsible for all statutory liabilities such as PF, ESI etc as applicable.
12 | You will take all safety measures and you will be responsible for any accident /incident and other liabilities related to accident /incident.
13 | In case of any difference and dispute the Arbitrator decision will be final. The Arbitrator will be nominated by Headmaster, In case the matter is not amicably settled, the court at Solan alone shall have be Jurisdiction to decide the same.
NOTE : | approved make of the materials :-
1 | CEMENT - ULTRATECH, ACC
2 | STEEL - TATA TISCON, SAIL FE 550D
3 | PLUMBING FIXTURES - ESSCO, HINDWARE
4 | STRUCTURAL STEEL - JINDAL OR TATA
5 | OBD & ENAMEL PAINT- BERGER, ASIAN , DULUX

## Hot water tank shifting
BILL OF QUANTITIES FOR THE SHIFTING OF THE HOT WATER STORAGE TANK FROM PD BATH CEILING TO THE EXTERNAL PLATFORM
CIVIL & PLUMBING WORKS:- (APPENDIX - 'A')
S.NO | DESCRIPTION OF WORK | UOM | QUANTITY | NOS | RATE | AMOUNT
1 | Dismantalling MS platform and hot water storage tank located at the height of 12 feet above the floor level. | KG | 2000 | 2
2 | Dismantalling existing water distribution lines, gate valves, meters and other plumbing fixtures and fittings, complete in all aspects. | RMT | 100 | 2
3 | Providing and fabrication of MS platform for the installation of the tank, with the provision of approachable ladder and protection railing all around the tank, one coat of Iron primer and Two coat od synthetic enamel black paint. Frame work with 100x100x6mm thick square hollow MS pipes, bracings with 50x50x5mm thick MS Angles and platform base with 100x50x5 mm rectangular hollow MS sections,including all necessary fittings and supporting arrangements at all lifts and lead. | KG | 1000 | 2
4 | Installation and fabrication of 1500 Litres hot water tanks made up of steel, with a glass lining within. This glass lining serves to protect the steel of the tank from corrosion due to constant contact with water. | KG | 500 | 2
5 | Providing and fixing thermal insulation around the hot water tank with expanded polystyrene (EPS glass wool) packing of size 1000 mm x 500 mm x 50mm thick with the Aluminium sheet covering externally, complete in all aspects with all necessary fixtures, screw etc. | SQM | 20 | 2
6 | Providing and fixing 2" dia GI pipe including GI fittings Jindal Make | RMT | 40 | 2
7 | Providing and fixing 1-1/2" dia GI pipe including GI fittings Jindal Make | RMT | 35 | 2
8 | Providing and fixing 1-1/4" dia GI pipe including GI fittings Jindal Make | RMT | 30 | 2
9 | Providing and fixing 1" dia GI pipe including GI fittings Jindal Make | RMT | 25 | 2
10 | Providing and fixing 3/4" dia GI pipe including GI fittings Jindal Make | RMT | 20 | 2
11 | Providing and fixing 1/2" dia GI pipe including GI fittings Jindal Make | RMT | 20 | 2
TOTAL AMOUNT OF CIVIL & PLUMBING WORK TO BE DONE (In Lacs)